| JOB/TASK NAME: Changing out Pumps, Condensate Feed Water |  |  |  | PAGE 1 OF 1 |  | DATE: 12/11/14 | NEW REVISED |
| --- | --- | --- | --- | --- | --- | --- | --- |
| EMPLOYEE(S)/POSITION(S) PERFORMING THE JOB: Heat Plant Employees |  |  |  | SUPERVISOR(S): Wes Smith |  | ANALYSIS BY: |  |
| PLANT/LOCATION: Heat Plant |  | DEPARTMENT(S): Facilities |  | SHIFT (if applicable): Day |  | APPROVED BY: |  |
| PERSONAL PROTECTIVE EQUIPMENT: Safety Glasses, Gloves |  |  |  |  |  |  |  |
| TRAINING REQUIREMENTS: |  |  |  |  |  |  |  |
| JOB STEPS |  |  | POTENTIAL HAZARDS |  | ACTION/PROCEDURE TO CONTROL OR ELIMINATE |  |  |
| 1 | Turn off pump and tagout lockout power source. |  | Electrical Shock |  | Lockout/tagout power sources. Check at pump with meter to make sure power is off |  |  |
| 2 | Get tools and PPE to properly perform job. |  | Shock, Knuckle Busting, Cuts |  | Use all PPE to safely do the job. Gloves, safety glasses and anything else the employees feel is needed. |  |  |
| 3 | Disconnect pump from power. Take bolts and nuts out. Disconnect or remove anything else that is needed. |  | Knuckle Busting, Cuts, Shock |  | Make sure power is disconnected with meter. Use proper tools for job. Use all necessary PPE. |  |  |
| 4 | Remove pump or motor or both. If heavy use mechanic lift to get it out. |  | Hurt Back, Heavy Lifting |  | Use mechanic lift to get pump out. |  |  |
| 5 | Replace pump in some manner as when removing bolt up and rewire |  | Heavy Lifting |  | Use lift to replace. |  |  |

Job Safety Analysis Form