| Job Safety Analysis Form JOB/TASK NAME: Operation of Battery Charger |  |  |  | PAGE 1 OF 1 |  | DATE: 2/6/15 | NEW REVISED |
| --- | --- | --- | --- | --- | --- | --- | --- |
| EMPLOYEE(S)/POSITION(S) PERFORMING THE JOB: Grounds |  |  |  | SUPERVISOR(S): |  | ANALYSIS BY: |  |
| PLANT/LOCATION: Campus |  | DEPARTMENT(S): Grounds |  | SHIFT (if applicable): |  | APPROVED BY: Chris Gale |  |
| PERSONAL PROTECTIVE EQUIPMENT: Safety Glasses |  |  |  |  |  |  |  |
| TRAINING REQUIREMENTS: |  |  |  |  |  |  |  |
| JOB STEPS |  |  | POTENTIAL HAZARDS |  | ACTION/PROCEDURE TO CONTROL OR ELIMINATE |  |  |
| 1 | Connecting Charger to Battery |  | Spark |  | Connect Positive (Red) charger clip to positive post of battery |  |  |
| 2 | Turning Charger “On” |  | Spark, Battery explosion |  | Plug charger in. Make sure it is on the correct voltage setting. Turn timer to desired charge time. |  |  |
| 3 | Turning Charger “Off” |  | Spark, Battery explosion |  | Unplug charger first. Remove positive and negative charger clips from battery. Put charger back to appropriate storage spot |  |  |
| 4 |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |