| Job Safety Analysis Form JOB/TASK NAME: Repairing or Replacing Valves & Gaskets That are High Up |  |  |  | PAGE 1 OF 2 |  | DATE: 12/9/14 | NEW REVISED |
| --- | --- | --- | --- | --- | --- | --- | --- |
| EMPLOYEE(S)/POSITION(S) PERFORMING THE JOB: Wes Smith, Scott Rogers, Allen Syrett |  |  |  | SUPERVISOR(S): Wes Smith |  | ANALYSIS BY: |  |
| PLANT/LOCATION: Heat Plant |  | DEPARTMENT(S): Facilities |  | SHIFT (if applicable): Day, Swing |  | APPROVED BY: |  |
| PERSONAL PROTECTIVE EQUIPMENT: Safety Glasses, Gloves |  |  |  |  |  |  |  |
| TRAINING REQUIREMENTS: |  |  |  |  |  |  |  |
| JOB STEPS |  |  | POTENTIAL HAZARDS |  | ACTION/PROCEDURE TO CONTROL OR ELIMINATE |  |  |
| 1 | Assess where valve is & get all necessary equipment needed, I.E., high up, how big is valve, hoist, etc. |  | Height, Falling, Size of Valve, Pinch Points |  | If up high use hoist, scissor lift, have 2 or more people, PPE |  |  |
| 2 | Get everything needed. Hoist, lift, tools, PPE, rags, harness |  | Lifting too much, Dropping it, Falling |  | Use hoist if necessary, harness if necessary, lift, and proper tools. |  |  |
| 3 | Attach valve to hoist if high up. Take bolts out clean flanges. |  | Dropping Valve, Falling, Pinch Points |  | Use hoists to secure valve harness if up high, gloves to protect hands. |  |  |
| 4 | Lower old valve if replacing, and/or replace gasket. |  | Dropping Valve, Cutting Hands or Fingers when Cleaning Flanges |  | Make sure secured to hoists, wear gloves, lower careful. |  |  |
| 5 | Hoist new valve into place. Bolt in place with new gaskets. |  | Dropping the Valve, Bolt in Wrong, Cuts, Pinch Points, Improper Lifting |  | Proper securing to hoist, lift properly, wear gloves, be aware of surroundings |  |  |
| 6 | Clean up after job is complete, clean things up, put away |  | Improper Lifting, Foreign Debris in Eyes |  | Proper lifting techniques, be aware, know surroundings. |  |  |