| JOB/TASK NAME: Replacing LED 4 Ft. Lights that are High Up |  |  |  | PAGE 1 OF 2 |  | DATE: 3/30/15 | NEW REVISED |
| --- | --- | --- | --- | --- | --- | --- | --- |
| EMPLOYEE(S)/POSITION(S) PERFORMING THE JOB: Wes, Jeff, Scott, Allen/ Heat Plant Operators |  |  |  | SUPERVISOR(S): Wes Smith |  | ANALYSIS BY: |  |
| PLANT/LOCATION: Heat Plant |  | DEPARTMENT(S): Facilities |  | SHIFT (if applicable): Day, Swing |  | APPROVED BY: Wes Smith |  |
| PERSONAL PROTECTIVE EQUIPMENT: Safety Glasses, Gloves, Hard Hat |  |  |  |  |  |  |  |
| Job Safety Analysis Form TRAINING REQUIREMENTS: Be trained on the scissor lift and harness. |  |  |  |  |  |  |  |
| JOB STEPS |  |  | POTENTIAL HAZARDS |  | ACTION/PROCEDURE TO CONTROL OR ELIMINATE |  |  |
| 1 | Assess which LED light’s need to be changed out. Get all necessary supplies and equipment needed. |  | Height, Falling, Broken Glass, Electrical Shock |  | If up high use scissor lift. If needed turn power off and Lock-Out-Tag-Out. Wear PPE. Use Ladder |  |  |
| 2 | Get everything needed. LED Lights, Scissor Lift, PPE, Rags, Harness, Tools, Ladder |  | Dropping LED Lights, Falling, Cuts from broken glass from LED Lights, Hitting head on head pipes |  | Use Harness, Use PPE, Use Gloves, Make sure the lift is up and as close to the LED light as possible, Use Ladder |  |  |
| 3 | Use scissor lift to go up and down, and ladders. Clean Dirt off from lights |  | Falling, Dropping, Dirt in Eyes |  | Use Harness, Ladders, Scissor Lift, PPE |  |  |
| 4 | Replace the old LED Light with the new LED Light, Make sure you write the date on the LED light to keep track of it. |  | Dropping LED light, Falling, Broken Glass, Electrical Shock, Lights swinging back and forth on cords and chains, Cuts and Hitting you in the head |  | Use Harness, Use PPE, Use Gloves, Hard Hat. If needed turn power off, and Lock-Out-Tag-Out. Use Ladder, Use Scissor Lift |  |  |
| 5 | Dispose of the LED Lights the right way |  | Broken Glass, Dirt or Dust from LED Light if not cleaned |  | PPE, Gloves |  |  |
| 6 | Clean up after the job is complete and put lift key back in key box |  | Foreign Debris in eyes, Improper Lifting |  | Proper Lifting Techniques, PPE, Gloves |  |  |